|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **s** | **Location Description** | **Map reference number and light status** | **Planned Works** | **Additional detail** | **Costs** **Delivery of Lights & Brackets approx. 6 Weeks** |
| 1 | Station Road – Opposite the church | 14No light fitting at present | Modification to lamppost height. Installation of heritage lantern on top of post | Cost option for painting lamp post black as currently a green post which will not match the new heritage light fitting | * To supply & install Heritage Light fitting, £971.00 +vat.
* To cut top of column and paint black, £400.00 +vat.
 |
| 2 | Village Green | 12+13Two light fittings no longer serviceable | Remove current 2 lights and brackets and replace with 2 new brackets and 2 heritage lanterns | Cost option for any works required for the electrical spur for Christmas tree lights  | * To supply & install 2 Heritage Light fittings with new associated brackets, £2,214.58 +vat.
* **Will cost for xmas tree lights once tree is sited.**
 |
| 3 | Stocks Road Barracks Cottages next to number 22 | 17Contemporary light fitting at present | Remove current contemporary fitting and replace with heritage lantern on bracket  | Retain contemporary fitting as spare | * To supply & install Heritage Light fitting with new associated bracket, £1,107.29 +vat.
 |
| 4 | Stocks Road next to Recreation Ground | 18No light fitting at present | Install bracket and heritage lantern |  | * To supply & install Heritage Light fitting with new associated bracket, £1,107.29 +vat.
 |
| 5 | Toms Hills next to Poppy’s café and entrance to track | 15No light fitting at present | Install bracket and heritage lantern |  | * To supply & install Heritage Light fitting with new associated bracket, £1,107.29 +vat.
 |
| 6 | Tom Hill on bend before Beechwood Drive | 16Contemporary light fitting at present  | Remove current contemporary fitting and replace with heritage lantern on bracket | Cost traffic management during installation due to blind bend locationOption to not do complete on this first phase as light in place | * I have requested a cost for traffic management, once I have it, I will share it with you.
 |
| 7 | Trooper Road on junction with allotment access road.  | 11Current heritage lantern installed on wall of private house | Replace current heritage fitting with new LED heritage fitting | Consultation with house owner and blanking plate option by APC before confirming Option to not complete on this first phase as light in place | * To supply & install Heritage Light fitting with new associated bracket, £1,107.29 +vat.
* **Please let me know if I should order this light fitting.**
 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Location Description** | **Map reference number and light status** | **Planned Works** | **Additional detail** | **Cost** |
| 8 | Trooper Road on junction with Stonycroft Road | 6Contemporary light fitting at present | Modification to lamp post height Installation of heritage lantern on top of post | Cost option for painting lamp post black as currently a green post which will not match the new heritage light fittingOption to not complete on this first phase as light in place | * To supply & install Heritage Light fitting,

£971.00 +vat.* To cut top of column and paint black,

£400.00 +vat. |
| 9 | Newground Road opposite Trooper Pub side gates | 7No light fitting at present | Install bracket and heritage lantern |  | * To supply & install Heritage Light fitting with new associated bracket, £1,107.29 +vat.
 |
| 10 | Newground Road opposite Malting Lane | 8No light fitting at present | Install bracket and heritage lantern | Power supply possibly absent or capped off, cost to be obtained from contractor to reinstate and agree who can fund .Excessive costs may prohibit reinstating light fitting at this location Option to move funding allocated for this location to an alternative location i.e. 6, 7 or 8  | * To supply & install Heritage Light fitting with new associated bracket, £1,107.29 +vat.
* **UK Power Networks**

 **Customer service:**[0800 029 4285](https://www.google.com/search?q=uk+power+networks+contact&rlz=1C1CHBF_en-GBGB1021GB1021&oq=uk+power+&gs_lcrp=EgZjaHJvbWUqBwgCEAAYgAQyCggAEAAYsQMYgAQyBggBEEUYOTIHCAIQABiABDIHCAMQABiABDIHCAQQABiABDIHCAUQABiABDIHCAYQABiABDIKCAcQABixAxiABDINCAgQLhivARjHARiABDIHCAkQABiABNIBCjEwNTQ0ajBqMTWoAgywAgHxBSFRF0CLBUAM&sourceid=chrome&ie=UTF-8) |
|  |  |  |  | Total Costs | * **£11,600.32 + vat**
 |